[image: image1.jpg]


V   Wuxi Lanhong Electric Co., Ltd.
LHJCZR Vacuum Contactor with Fuse Ordering List
Contact person：                   Tel：                    Fax：
	Ordering company
	
	Total 
	    ea

	Project 
	
	PO #
	

	Model
	LHJCZR2□  LHJCZR2(A) □ LHJCZR2(B) □  LHJCZR2(C) □
	Quantity
	    ea

	Rated voltage
	□7.2KV      □12KV

	Rated current of fuse
	□40A    □50A    □63A   □80A    □100A    □125A

□160A   □200A    □250A    □315A     □others

	Rated shourt circuit breaking current
	□40KA     □50KA

	Fuse
	□provided by the ordering party  □provided by Lanhong   
□no fuse（withdrawable）

	Type of protection load
	□motor  □transformer   □capacitor

	Type of closing holding
	□electric holding    □mechanical holding

	Control voltage
	□DC220V      □DC110V     □AC220V     □AC110V

	Earthing
	□busbar    □earthing clip   □contact    

	Secondary wiring
	□standard（58-core socket）        □wiring terminal

	Type of structure
	· standard middle-stated structure
· others
· 非标结构（附图，图号：                       ）

	Width of matched cabinet
	□650㎜     □800㎜     □fixed (no bottom cart)   □650mm（same as breaker）   
LHJCZR2      LHJCZR2(B)    LHJCZR2(A)              LHJCZR2(C)
· 800㎜（same as breaker）

序号LHJCZR2(D)

	Pole distance
	□205          □275（same as breaker）

	Phase distance
	150mm

	Others
	（If there’s any special requirements, please state them in the space with relative explanations of relative diagrams or materials.）

1、

2、

3、


Remarks：1、Please put a “√”in the □ of the chosen item, and send back to Lanhong. 
2、When there are different specifications, please fill one table for one specification, and point out the quantity.
3、Please contact us if needed.
