	MODEL SELECTION TABLE FOR AC VACUUM CONTACTOR 

	Model
	Low voltage
	CKJ＿—＿A/＿V＿＿

	
	Medium, high voltage
	JCZ＿—＿/D＿—＿ ＿

	Rated voltage
	□1.14kV □3.6kV□7.2kV□12kV□40.5kV


	Rated current
	1.14kV□125A□160A□200A□250A□400A□630A□800A□1000A□1250A□1600A

3.6kV□200A□400A□630A

7.2kV□160A□250A□400A□630A

12kV□160A□250A□400A□630A

40.5kV□160A□250A□400A□630A


	Pole number of main circuit
	· single pole □two poles □three poles

	Type of load
	□inductive load of motor□capacitive load of capacitor


	Control circuit
	rated voltage＿＿power supply catagory□a.c.□d.c.


	Holding type
	□electric holding□mechanical holding


	Auxiliary circuit
	NO contact＿NC contact＿


	Others
	1.

2.

3.

4.

5.


